Fire Safety Policy

| Policy type | Trust wide with local context (Tier 3). From Handsam |
| --- | --- |
| Review | Every three years |
| Author/Responsible Officer | Head of Estates |
| To be ratified by | COO |
| Approved by | COO |
| Date of ratification | April 2025 |
| Date of next review | April 2028 |

This policy is a mandatory policy for all DSAMAT Academies and must be implemented with localised details

Our mission, vision and values

The Trust has a clear mission at its core, ensuring that all pupils are enabled to flourish, rooted in God’s Love - academically, socially, spiritually, physically and mentally.  This is central to our work, and rooted in our Christian foundation (John 10 v 10).    Our commitment to mutual flourishing within the school community is built upon our shared belief in Church of England principles.  In our Trust, just as in the wider Church of England community, ‘flourish’ refers to prospering, thriving and growing – not shrinking out and dying. It means prayerfully encouraging all within our schools so that they might prove fruitful, successful and contented in the longer term.  We seek to provide space generously for all to flourish in life and all of its structures.   Equal treatment for all pupils, staff and the wider community is a core part of enabling this long term, holistic flourishing.

We have a clear vision about creating successful schools for the benefit of their communities.  All schools provide rich and diverse curricula which evolve to meet the needs of their children and local communities, as well as delivering educational excellence to enable them to continue to flourish in later life.

The way we work and deliver against our mission is critical to our Trust.  We have shared, agreed values of:

Hope; Nurture; Equality; Respect; Collaboration

The Trust's vision is underpinned by a Christian values framework which is adopted by all schools.  It provides clear expectations for all Trust employees on how we wish our values to impact on all areas of school life.  It draws on, and is informed by, the National Church of England Vision for Education and the Diocesan Board of Education Vision.

Each school within the Trust has a personalised vision for education, developed locally to reflect the individual character and needs of the school community.  This vision is underpinned by the Trust’s wider vision, and agreed with the Trust, but it is owned and driven by the headteacher and their LGB.

Our community

The Trust are dedicated to delivering education that serves local communities.  Our schools are inclusive, welcoming those from all and no faiths, from all abilities and backgrounds.  We believe in providing a high-quality education, underpinned by Christian values, which enables every child to flourish.

Underpinning all of the Trust’s work is a belief in educational excellence. The Trust serves all stakeholders by providing schools with the highest levels of academic rigour and pastoral care.

Our schools are places where children and young people develop and thrive intellectually, socially, culturally and spiritually. All of the Trust's schools teach a broad and balanced curriculum within national guidelines focusing on core skills. This is designed to ensure that all pupils reach their academic potential and seek to enrich their experience along the way. Pupils will be enabled to succeed in an atmosphere of high expectation, aspiring to educational excellence with a firm foundation of values.

This policy forms part of our Trust governance and ensures that we are held to the highest standards as we carry out our duties.

For the remainder of this document, the Diocese of St Albans Multi Academy Trust will be referred to as DSAMAT.

Contents

Updates to the Fire Safety Laws

School Premises Details

General Fire Policy Statement

Management Structure and Responsibilities

Management System for Fire Safety

- Planning

- Organisation

- Control

- Monitoring

- Review

Full Description of the Premises

Fire Safety Strategic Objective (Full Evacuation)

Structural Protection/Means of Escape

Means of Escape: General

Means of Escape: Horizontal

Means of Escape: Vertical

Fire Safety Systems

- Fire Safety Signage

- Lighting Systems

- Firefighting Equipment: Portable

- Firefighting Equipment: Fixed Installations

- Plans

Maintenance

- Maintenance of Fire Resisting Doors, Walls and Partitions

- Maintenance of Escape Routes and Exit Doors

- Maintenance of Fire Safety Signs

- Maintenance of Fire Warning System

- Maintenance of Emergency Lighting

- Maintenance of Fire Fighting Equipment

- Maintenance of Fire Safety Records

Emergency Evacuation Plan (EEP)

- Fire Evacuation Signal

- Action on Hearing the Alarm

- Action on Discovering a Fire

- Evacuating People Identified at Specific Risk

- Designated Assembly Points

- Escape Routes and the Use of Fire Exits

- Arrangements for Fighting Fire

- Specific Responsibilities for Staff

- Fixed Fire Protection Systems: Out of Service

- Calling the Emergency Services

- Fire Service Liaison Officer (FSLO)

Staff Fire Training

- Training Programme

- Fire Drills

Visitors and Contractors

Carbon Monoxide

Significant Hazards

Arson Prevention

Monitoring and Review

Updates to the Fire Safety laws

Following the Grenfell Tower Fire Inquiry and the subsequent Building Safety Reform programme, the Government has made changes to the law to implement recommendations to improve building safety.

From 1 October 2023, new legislation takes effect that strengthens fire safety in all Fire Safety Order regulated premises. The legislation has been implemented through Section 156 of the Building Safety Act 2022.

The Trust is now required to have a written fire risk assessment and a record of the fire safety arrangements in place. The whole fire risk assessment must now be recorded in full and not just the significant findings. The Trust will identify the details of any person who is involved in completing or reviewing the fire risk assessment.

In premises where there is more than one responsible person, there are increased legal requirements for cooperation and coordination between all the responsible persons.

The Trust will ensure that responsible persons within a building are identified and the parts of the building that they are responsible for and share information.

School Premises Details

| Address: | (INSERT SCHOOL ADDRESS) |
| --- | --- |
| Telephone no.: | (INSERT SCHOOL TELEPHONE NUMBER) |
| Age and construction of buildings: | (INSERT AGE AND CONSTRUCTION OF BUILDINGS) |
| Number of staff and pupils: | (INSERT NUMBER OF STAFF AND PUPILS) |
| Use of premises: | Activities undertaken include: Performing Arts, assembly, P.E. and Games, catering, dining, Science, Art, Design and Technology, teaching, office activities, workshop tasks, storage of ground maintenance equipment and diesel. (INSERT ACTIVITIES UNDERTAKEN AT THE SCHOOL) |
| Owner/employer/persons in control of the premises: | (INSERT OWNER/EMPLOYER/PERSONS IN CONTROL OF THE PREMISES) |
| Owner telephone no.: | (INSERT TELEPHONE NO. OF OWNER OF THE PREMISES) |
| Date of fire risk assessment: | (INSERT DATE OF FIRE RISK ASSESSMENT) |
| Date of review: | (INSERT REVIEW DATE OF FIRE RISK ASSESSMENT) |
| Fire risk assessor: | (INSERT DETAILS OF WHO UNDERTOOK THE FIRE RISK ASSESSMENT) |

# General Fire Policy Statement

DSAMAT is committed to high standards in health and safety and ensuring the provision of a healthy working environment is available to pupils, employees, contractors and persons who may visit the school, including all aspects of fire safety. We will strive to achieve comfortable working that is, as far as is reasonably practicable, safe from the risk of fire.

We recognise that in accordance with the Regulatory Reform (Fire Safety) Order 2005, the government has laid down guidance for fire safety in educational premises.

The Head Teacher has ultimate responsibility for fire safety within their

respective schools.

The Head of Estates is responsible for ensuring this policy is implemented within each school and to monitor the effective working procedures, including reviewing reports of incidents, near misses or concerns raised by any member of the schools.

The Operations Lead and Site Agent are responsible for day-to-day fire safety precautions within their respective schools. This includes fire prevention, maintaining adequate fire escapes, maintenance and inspection of firefighting equipment and planned evacuations.

DSAMAT will ensure that we meet all our legal and moral responsibilities regarding fire safety and to do this we will:

- Where practicable, prevent the possibility of all causes of fire;

  - Adopt a risk assessment approach to all fire safety matters by assessing and reducing risks generically where possible and creating systems to localise procedures and working practices by commissioning an Appointed Competent Person to conduct a full fire risk assessment every 2 years or after any significant change is made to any building(s) evacuation plan/process;

  - Provide information, instruction and training to staff and monitor incidents and near misses in order to identify where to improve systems and procedures and reduce the risk of recurrence;

  - Use competent persons to carry out fire risk assessments of all our properties and to advise our management of fire safety issues;

  - Implement the protective and preventative measures identified in the risk assessments and advice from our competent persons;

  - Consult our employees on relevant risk reduction measures that are necessary;

  - Liaise with our employees to reduce the risk from fire as far as reasonably practicable;

  - Develop roles and responsibilities to cover all aspects of fire safety and ensure that everyone understands their roles and responsibilities;

  - Train our employees and where necessary assess their competency in fire safety matters;

  - Develop an emergency evacuation plan for all our properties and personal emergency evacuation plans (PEEP) for all special needs persons who are employed or taught at our premises;

  - Provide all our employees, pupils and others, who visit or work in our properties, with relevant information on fire safety matters;

  - Deliver a recorded program of checks to equipment for fire prevention, fire alert and firefighting, plus checks to possible ignition sources, storage of flammables and combustibles and evacuation routes; and

  - Implement suitable and appropriate management arrangements to plan, organise, control, monitor and review fire safety throughout our premise portfolio.

Management Structure and Responsibilities

# Management System for Fire Safety

A process of fire risk assessment is used to manage the ongoing fire risk in the premises which records:

- The significant findings; and

- Any group of persons identified by it as being especially at risk.

School arrangements for planning, organising, controlling, monitoring and reviewing the fire risk assessment processes are as follows.

Planning

Reference will be made within the main Trust Health and Safety Policy to the Fire Safety Policy document which will also incorporate arson control and management of chemicals on site.

Fire risk assessments will be carried out by the Trust’s appointed external competent contractor, and these will be reviewed regularly or at least on an annual basis with a new fire risk assessments completed every 2 years.

Staff will receive appropriate fire training relevant to their job role on induction and at regular intervals via refresher training.

All significant findings identified within the fire risk assessment will be addressed in accordance with the action plan detailed in the risk assessment reports.

Each school will ensure regular servicing of the following:

  - Fire alarms, emergency lighting, portable fire extinguishers in accordance with the current British Standards, 5839, 5266 and 5306 respectively;

  - Fire drill with be undertaken at least annually for each building with the results being entered into the fire safety logbooks; and

  - Fire logbooks for all buildings will be completed by (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) and will be made available for use as an audit trail and if the Fire Service should visit the premises.

## Organisation

Each School within the Trust will:

- Identify the risks and issue an action plan;

- Train school Fire Marshals;

- Train Heads of Department and teacher and teaching assistants;

- Reduce or remove any risks; and

- Have a clear allocation of duties and responsibilities which are linked to job descriptions.

Control

Each school within the Trust will carry out regular fire drills and staff training with documentation being kept in the fire log books.

Fire logs will be kept by (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY).

Regular maintenance and testing of all passive fire safety measures will be carried out, i.e. fire alarms, portable fire extinguishers, emergency lighting, signage etc.

Annually, each school within the Trust will invite the Fire Service to visit the site.

In the event of an evacuation, only competent personnel with appropriate training will be allowed to reset the alarm system as the Fire Service are under no obligation to do so.

Monitoring

The Operations Lead for each school will hold training records.

The Operations Lead for each school will audit fire documentation and risk assessments annually. They will also monitor all action plans.

The Head of Estates will audit all fire log books annually as part of the Safe School Assessment

Review

This management system for fire safety will be reviewed on an annual basis.

# Full Description of Premises

This section is school specific and will need completing with support of The Head of Estates and Head Teacher for the school

| (INSERT BUILDING ONE NAME) | (BUILDING ONE: INSERT BRIEF DESCRIPTION OF BUILDING TYPE AND FIRE HAZARDS) |
| --- | --- |
| (INSERT BUILDING TWO NAME) | (BUILDING TWO: INSERT BRIEF DESCRIPTION OF BUILDING TYPE AND FIRE HAZARDS) |
| (INSERT BUILDING THREE NAME) | (BUILDING THREE: INSERT BRIEF DESCRIPTION OF BUILDING TYPE AND FIRE HAZARDS) |
| (INSERT BUILDING FOUR NAME) | (BUILDING FOUR: INSERT BRIEF DESCRIPTION OF BUILDING TYPE AND FIRE HAZARDS) |
| (INSERT BUILDING FIVE NAME) | (BUILDING FIVE: INSERT BRIEF DESCRIPTION OF BUILDING TYPE AND FIRE HAZARDS) |
| (INSERT BUILDING SIX NAME) | (BUILDING SIX: INSERT BRIEF DESCRIPTION OF BUILDING TYPE AND FIRE HAZARDS) |
| Occupancy: | Teaching, including the use of science laboratories, sports activities, Design and Technology, Art, ground maintenance, plant rooms and storage. (INSERT IF THERE IS BOARDING) |
| Times the premises are in use: | School terms |
| Total number of persons employed to work within the premises at any one time: |  |
| Total number of non-employed persons within the premises at any one time: |  |
| Size (metres x metres): | See individual fire risk assessments |
| Number of floors: | See individual fire risk assessments |
| Number of stairs: | See individual fire risk assessments |

Fire Safety Strategic Objective (Full Evacuation)

The strategy is to provide safety for all occupants of the premises under any reasonably foreseeable circumstances in the event of a fire, in or adjacent to the building.

The strategy recognises that employees in the main are familiar with the premises although new employees, pupils and visitors must be accompanied until familiar with the buildings on site. This is fully acknowledged in the formulation of the Emergency Evacuation Plan (below).

Fire safety provision to achieve the above strategic objective is based on a combination of the requirement for early fire detection, and warning for pupils and employees. Key elements of compartmentation in the building and sufficient protection of designated escape routes allow for the safe egress of all occupants, once alerted, to a place of ultimate safety with the assistance of teachers acting as Fire Marshals and the Fire Service Liaison Officer (FSLO)

| Fire Service | Phone Number | E-Mail |
| --- | --- | --- |
| Bedfordshire Fire & Rescue Service | 01234 718099 | ehadmin@bedofrd.gov.uk |
| Hertfordshire Fire & Rescue Service | 01992 901900 / 0300123 4046 | Administration.cfs@hertfordshire.gov.uk |

Structural Protection/Means of Escape

Means of Escape: General

Satisfactory means of escape is provided by means of designated protected routes from all areas of the buildings (detailed on the plans located in fire log books) to dedicated fire exits direct to outside at ground floor level. Ultimate safety is achieved by the provision of a number of alternative assembly points in selected safe areas outside the premises as indicated on the plans for each building. This allows for the selection and use of the most suitable, depending on the location and severity of the fire at the time of the evacuation.

Provision of means of escape is in compliance with the guidance issued by the Department for Communities and Local Government: Fire Risk Assessment: Educational Premises.

Means of Escape: Horizontal

Provided by protected corridor routes linking all rooms and any protected staircases. All doors opening onto such circulation spaces are maintained to an FD30S standard. Corridors are managed to avoid the build-up of combustible materials and prevent their use for unsafe processes such as locating of electrical machinery (such as photocopiers), and are subdivided as necessary by self-closing doors to a FD30S standard to prevent the spread of products of combustion along their length.

Escape from within rooms is provided by appropriate provision of sufficient exit doors in accordance with government guidance standards.

Means of Escape: Vertical

Provided by: (INSERT HOW VERTICAL MEANS OF ESCAPE IS ACHIEVED FOR EACH BUILDING).

Protected staircases serving all areas of upper storeys, adequately sized at each level, with egress direct to outside and all doors of an FD 30SSC standard.

Fire Safety Systems

Fire Safety Signage

Appropriate signage is provided and maintained throughout the premises and is in accordance with BS 5499. Arrangements are managed by school procedures. These are included within the school fire safety logbook and an understanding of signage is the subject of regular staff training. This will be reviewed on an annual basis by Operations Leads at each school and confirmed by the regular Fire Risk Assessment visit and report by the Appointed Competent Person.

Fire Warning System

Fire detection and alarm system (FD&A), for transmission of alarm calls, is provided and maintained in accordance with BS 5839 Part 1. The standard complies with guidance for educational premises. Arrangements are managed by school procedures. Procedures are included within the school fire safety logbooks. The use and arrangements for maintenance of automatic fire detection is the subject of regular staff training.

Emergency Escape Lighting Systems

An electrical emergency escape lighting system is provided and maintained in accordance with the provisions of BS 5266 Part 1. Arrangements are managed by school procedures. Procedures are included within the school fire safety logbooks. The use and arrangements for maintenance of emergency escape lighting is the subject of regular staff training. Supplemented with emergency escape route signage.

Firefighting Equipment: Portable

Appropriate fire extinguishers and fire blankets are sited, positioned and maintained in accordance with BS 5306. Arrangements are managed by school procedures. Procedures are included within the school fire safety logbooks. The use and arrangements for maintenance of firefighting equipment (FFE) is the subject of regular staff training. Signage will be placed adjacent to each FFE.

Firefighting Equipment: Fixed Installations

(INSERT DETAILS ON FIREFIGHTING EQUIPMENT: FIXED INSTALLATIONS IF APPLICABLE – OTHERWISE DELETE).

N.B. These may include sprinkler systems and the regular tests made on them, lightning conductors, gas/extractor installations being linked to the alarm for automated switch off and their annual checks etc.

Plans

The plans, kept in the building fire logs show:

  - Escape routes (number of exits, number of stairs, fire-resisting doors, fire-resisting walls and partitions, places of safety, etc.);

  - Fire safety signs and notices (i.e. pictographic fire exit signs, fire action notices, etc.);

  - The location of fire warning devices (i.e. break-glass alarm points, sounders, rotary gongs);

  - The location of emergency lights; and

  - The location and type of firefighting equipment (i.e. water extinguishers, foam extinguishers, etc.).

Maintenance

Each fire safety logbook will include the following and be completed in line with the maintenance schedule.

The management of each school acknowledges its obligation to provide a proactive programme for the maintenance of the fire safety provisions in its premises together with guidance on appropriate emergency procedures and an adequate staff training programme.

The means of escape and other fire safety provisions must be maintained at suitable intervals by a ‘competent person’ and the maintenance recorded in the fire logbook.

Each school will produce a maintenance schedule that covers the means of escape, signs and notices, fire warning system, emergency lighting and fire-fighting equipment.

(INSERT NAME OR DEPARTMENT WHO CARRIES OUT MAINTENANCE OF FIRE SAFETY PROVISIONS) will carry out the maintenance and record in the fire logbook.

Maintenance of Fire Resisting Doors, Walls and Partitions

All fire resisting doors will be inspected on a monthly basis by (INSERT NAME OF PERSON WHO INSPECTS FIRE RESISTING DOORS) and documented in the fire logbook.

Maintenance of Escape Routes and Exit Doors

The walkways and escape routes will be checked on a monthly basis by (INSERT NAME OF PERSON WHO INSPECTS WALKWAYS AND ESCAPE ROUTES) and documented in the fire logbook.

Maintenance of Fire Safety Signs

Routine inspections of all fire safety signage are to be carried out termly by (INSERT NAME OF PERSON WHO INSPECTS FIRE SAFETY SIGNAGE).

All illuminated signage is to be maintained in accordance with BS 5266 and inspected monthly by a competent person. Six monthly and annually a competent electrical engineer should also carry out routine maintenance in accordance with the above British Standard.

Maintenance of Fire Warning System

This will be specific to each building and is documented in the fire logbook for each site. All in accordance with BS 5839.

| Weekly: | Internally a fire drill will be carried out by the Site Agent or nominated person. |
| --- | --- |
| Six monthly: | This will be completed by an external engineer whose contact details are below: (INSERT CONTACT DETAILS OF FIRE WARNING SYSTEM EXTERNAL ENGINEER) |
| Annually: | As above. |

Maintenance of Emergency Lighting

This will be specific to each building and is documented in the fire logbook for each site, all in accordance with BS 5266.

| Weekly: | Visual inspection of all emergency lighting points including illuminated exit signs. |
| --- | --- |
| Monthly: | Monthly ‘flick test’ of emergency lighting, not exceeding 25% of rated duration of the system. Simulate a momentary power interruption/mains failure to show if emergency lighting works under loss of power condition. Walk around the premises to check if each emergency light is working in these conditions. |
| Six monthly: | Test in the same manner but leave on emergency mode or deny power for one third of the rated duration of the system (i.e. on hour for a three hour rated system). |
| Six monthly: | Maintenance in accordance with BS 5266, by a competent electrical engineer. 50% every 6 months. |

Maintenance of Firefighting Equipment

This will be specific to each building and is documented in the fire logbook for each site all in accordance with BS 5306 by a competent person. Routine visual inspections will be undertaken to ensure firefighting equipment has not been discharged or is suffering from any obvious damage. A formal inspection of firefighting equipment by an external competent service engineer will be undertaken annually.

Maintenance of Fire Safety Records

The fire risk assessments are located in the Operation Leads SharePoint under Estates Information under the school name. All reports can also be found on the Handsam system where you can download a copy or manage the action plan.

The personal training records will be located in the Fire log book or are help on the Handsam system.

The fire logbooks are maintained for ALL buildings on the school premises.

Emergency Evacuation Plan (EEP)

The Fire Evacuation Signal

The fire evacuation signal for each school is a continually sounding siren (warble) throughout the premises.

The signal will sound on activation of the fire detection system or the operation of a break-glass call point.

On hearing the fire evacuation signal for any of the buildings above, employees must leave immediately by the nearest available exit.

The fire evacuation signal is tested weekly covering call points on a rotational basis, ensuring each call point is tested at least annually.

Action on Hearing the Fire Alarm

Staff:

  - During school opening hours, (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) will check the fire alarm panel to verify the zone and location of the alarm actuation and despatch staff to the area to check and begin evacuation as necessary;

  - If fire is discovered this will be confirmed to the Fire Service by dialling 999;

  - Teachers and classroom assistants will direct pupils to the evacuation assembly points; and

  - Other staff will report to the evacuation assembly points and await instructions.

Visitors and contractors:

  - Leave the building immediately by the nearest available exit;

  - Make their way to the nearest designated assembly point in a calm orderly manner;

  - Once at the assembly point wait for instructions from the Fire Service Liaison Officer or the Fire Officer; and

  - Do not re-enter the building until directed by a member of staff on the advice of the Fire Officer.

Pupils:

  - Cooperate with their teachers and classroom assistants to ensure a safe and orderly evacuation to assembly points;

  - Know who their assembly point roll call teacher/classroom assistant is;

  - Know the main fire evacuation routes and which assembly point to muster at;

  - Do not attempt to use fire-fighting equipment or save personal possessions;

  - When unsupervised; on hearing the alarm:

  - Leave the building immediately by the nearest available exit;

  - Make their way to the nearest designated assembly point in a calm orderly manner;

  - Once at the assembly point wait for instructions from their assembly roll call teacher or the Fire Service Liaison Officer or the Brigade Fire Officer; and

  - Do not re-enter the building until directed by a member of staff on the advice of the Fire Officer.

  - Pupils may also raise the alarm, if it is they who discover a fire or evidence that there may be a fire, such as smoke.

Action on Discovering a Fire

- Raise the alarm by activating the nearest break glass call point;

- Evacuate the immediate area;

- The person confirming there is a fire is to call the Fire Service by dialling 999;

- (INSERT NAME OF PERSON RESPONSIBLE FOR CHECKING FIRE SERVICE HAS BEEN CALLED) is responsible for checking the Fire Service has been called;

- Tackling the fire will always come secondary to the evacuation. However, if trained and it is safe to do so, staff may tackle the fire with the nearest portable extinguisher, always ensuring there is a safe exit route available;

- A sweep of the building will be carried out by facility management. Once staff and visitors are at the assembly points a nominal roll will be carried out and provide the information to the Fire Service Liaison Officer;

- Any person trying to re-enter the building without the express permission of the Fire Brigade Lead Officer will be restrained using appropriate means; and

- Only competent personnel with appropriate training will be allowed to re-set the alarm system as the Fire Service are under no obligation to do so.

Evacuating People Identified at Specific Risk

Visitors:

- All visitors will sign in on arrival at reception and be handed a visitor’s badge. Emergency plan information will be provided for them; and

- Visitors should be accompanied by the host at all times whilst on site and escorted to the assembly point by staff in the event of an emergency.

Contractors:

- All contractors will sign in on arrival at reception at the start of the work period. Unless other arrangements have been made e.g. long term contractor may have their own sign-in book, they should be made aware of the emergency procedures for the premises and the location of the designated assembly points.

Those with special needs:

- A Personal Emergency Evacuation Plan (PEEP) will be completed for any individuals (staff, pupils, visitors or contractors) that have special needs or SEND.

Designated Assembly Points

The designated assembly points for the premises are:

(INSERT DETAILS OF THE ASSEMBLY POINTS)

Everyone will report to one of the above assembly points if the building is evacuated. Only people with designated tasks may remain in the building.

Escape Routes and the Use of Fire Exits

Means of escape routes throughout the buildings have been identified with fire exit signs.

Emergency lighting is also provided to all escape routes and final exit doors. These automatically illuminate on failure of the normal lighting circuits.

Arrangements for Fighting Fire

  - Tackling fires will always come secondary to the evacuation of the premises;

  - Firefighting equipment is provided in accordance with BS 5306 and is for use by any member of staff who has received the appropriate training and, on discovering a fire, considers it safe to do so. Firefighting equipment is sited throughout the building in accordance with the risk assessment and is generally found on escape routes adjacent to final exit doors;

  - The fire extinguishers are provided to secure the means of escape routes and help prevent a small fire developing into one which could destroy the building. These extinguishers are only to be used if it is safe to do so, or out of necessity to secure an escape route; and

  - ‘IF IN DOUBT, GET OUT’.

Specific Responsibilities of Staff

Teaching staff:

  - Sweep their area of work and ensure all people leave the building and direct/escort them to the assembly point. Tell the person responsible for the area immediately when it is all checked and clear;

  - Designated members of staff to remember specific items to be turned off in case of fire if it is safe to do so, e.g. kitchens - all cookers and heat generating equipment should be turned off as they leave the building;

  - If requested, call the Fire Service by dialling 999, the emergency operator is the next contact before being put through to the Fire Service. The Fire Service will then require the following information:

    - The full address, including post code;

    - The telephone number you are calling from;

    - If possible, what is involved in the fire and if there are any flammable materials; and

    - Name of the nearest main road (INSERT NAME OF NEAREST MAIN ROAD).

## Fixed Fire Protection Systems: Out of Service

If the fire detection system has to be isolated for any reason, (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) must be kept informed.

  - (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) will document this in the fire logbook;

  - Hot work will be restricted and only allowed under a strict permit to work system issued by the Maintenance manager, Operations Lead or Headteacher;

  - Any fire doors on magnets or other automatic means of keeping them open to be released and kept closed;

  - All staff in identified areas should be informed and remain vigilant. Alternative systems to be put in place at the time, e.g. staff in area have mobile phone/pager contact with head teacher or other staff members, alarms of fire to be relayed directly to the fire service by phone;

  - School insurers will be informed if this is going to be over half a day; and

  - (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) will document the re-commissioning of the system in the fire logbook.

If the evacuation alarm system is isolated for any reason, (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) will be informed.

  - (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) will document this in the fire logbook;

  - A temporary method of warning people of fire to be used, e.g. air horn or manual bell; and

  - (INSERT NAME OF NOMINATED RESPONSIBLE PERSON FOR FIRE SAFETY) will document the re-commissioning of the system in the fire logbook.

## Calling the Emergency Services

During normal school opening hours:

- The Fire Service will be called using 999 once the fire alarm has been actuated. On checking if a fire is discovered or if it is a definite false alarm this should be confirmed to the Fire Service by dialing 999;

- The Fire Service will require the following information:

  - The full address, including post code;

  - The telephone number you are calling from;

  - If possible, what is involved in the fire and if there are any flammable materials; and

  - Name of the nearest main road (INSERT NAME OF NEAREST MAIN ROAD).

At night, weekends or during the school holidays:

- The Fire Service will be called by dialing 999. On checking if a fire is discovered before the arrival of the fire service, or even if it is a definite false alarm, this should be confirmed to the Fire Service by the senior member of staff by dialing 999;

- The Fire Service will require the following information:

  - The full address, including post code;

  - The telephone number you are calling from;

  - If possible, what is involved in the fire and if there are any flammable materials; and

  - Name of the nearest main road (INSERT NAME OF NEAREST MAIN ROAD).

## Fire Service Liaison Officer (FSLO)

(INSERT NAME OF FIRE SERVICE LIAISON OFFIER (FSLO)) has been nominated to act as Fire Service Liaison Officer (FSLO). This individual will be responsible for reporting to the first Fire Service Officer attending any incident at the site. They will advise the Fire Service on the following:

  - The location of the incident;

  - Confirmation of the evacuation of all people from the buildings or otherwise;

  - The last known location of any missing person/reluctant evacuees (if known);

  - The location of the main electric intake and gas intake;

  - Details on any known highly flammable materials in or around the building(s) involved;

  - A floor plan of the building;

  - Any other relevant information; and

  - Work with emergency services to put in place evacuation plan.

The grab pack contains the majority of this information (contingency plans and contact numbers).

# Staff Fire Training

All staff are required to attend site specific basic fire awareness training each year

It is the responsibility of (INSERT NAME OF RESPONSIBLE PERSON FOR FIRE TRAINING) to ensure this is carried out.

## Training Programme

All employees, contractor staff and volunteers should receive fire safety in schools training on induction, which should be recorded. The frequency of refresher training will be annually unless significant changes are made to the buildings or procedures.

The Headteacher is to produce a training programme which specifies who receives training, what training is given, how often it is given and where it is recorded. A suitable programme will contain the following:

  - Basic fire awareness;

  - The items listed in the emergency plan;

  - The importance of fire doors and other basic fire prevention measures;

  - Where relevant, the appropriate use of fire-fighting equipment;

  - The importance of reporting to the assembly area;

  - Exit routes and the operation of exit devices, including physically walking these routes;

  - General matters such as permitted smoking areas or restrictions on cooking other than in designated areas;

  - Assisting disabled persons where necessary;

  - Staff with specific responsibilities may additionally require more advanced training covering:

  - Detailed knowledge of the fire safety strategy of the premises;

  - Awareness of human behaviour in fires;

  - How to encourage others to use the most appropriate escape route;

  - How to search safely and recognise areas that are unsafe to enter;

  - The difficulties that some people, particularly if disabled, may have in escaping and any special evacuation arrangements that have been pre-planned;

  - Additional training in the use of firefighting equipment; and

  - Reporting of faults, incidents and near misses.

Students will be briefed on fire evacuation as part of their induction and orientation period at each school and then this will be refreshed after each fire evacuation to ensure any points which have been raised are communicated effectively.

## Fire Drills

The fire emergency evacuation plan will be tested at least 3 times per year. The results of the test will be documented in the fire logbook.

## Visitors and Contractors

General fire action notices based on this plan will be maintained, displayed and updated accordingly.

# Carbon Monoxide

Carbon monoxide is a colourless, odourless, tasteless and toxic gas produced as a by-product of combustion. Any fuel burning appliance has the potential to produce carbon monoxide gas.

As a result, a carbon monoxide detector will be in the vicinity of all fuel appliances in each school such as:

- Our boiler/s;

- Gas cookers/hobs; and

- Fireplaces (where fuel is burned).

Any carbon monoxide detector will conform to the standards set out in BS EN 50291.

# Significant Hazards

Employers, and persons in control of the school premises other than the employer, should inform the Fire Service of any significant hazards within their workplace that may require special procedures for rescue work and firefighting.

| Significant Hazards | ü or X |
| --- | --- |
| The Fire Service has been informed of any significant hazard within the workplace that may require special procedures for rescue work and firefighting. |  |
| Specify: - Chemistry laboratory stores - Diesel, ground maintenance staff - Electrical equipment (INSERT RELEVANT SIGNIFICANT HAZARDS ON PREMISES) |  |

# Arson Prevention

Arson is the act of deliberately starting a fire. It is reported that there are over 1000 arson attacks on schools every year, with an estimated £80 million in insured damages each year. Not only does arson put lives at risks and cause distress to staff, pupils and parents, the disruption to learning can be huge whilst schools re-build or temporarily re-locate. The Trust and each school therefore take arson prevention very seriously.

Each School should use the below risk checklist when assessing the risk arson poses to the premises:

| Risk Checklist |  |
| --- | --- |
| 1. Does the building have any lightweight or timber construction? | Yes/No |
| 2. Is there a history of break ins, or arson in the school’s area? | Yes/No |
| 3. Is combustible waste regularly removed? | Yes/No |
| 4. Is there easy access to external storage areas? | Yes/No |
| 5. Are combustible materials stored securely? | Yes/No |
| 6. Has the school had two or more arson attacks in the past 3 years? | Yes/No |
| 7. Has the school had more than 10 incidences of theft or break ins in the past 12 months? | Yes/No |
| 8. Is the site easily accessible to the public? | Yes/No |
| 9. Are outside areas well-lit at night? | Yes/No |
| 10. Is the external perimeter vulnerable? | Yes/No |
| 11. Are there security arrangements for out of school hours use? | Yes/No |
| 12. Is it relatively easy for intruders to break into the building? | Yes/No |
| 13. Are certain areas kept out of bounds during evening use? | Yes/No |
| 14. Is there a system of monitoring visitors? | Yes/No |
| 15. Are staff aware of the need for key security and locking up? | Yes/No |

Each School should use the below risk reduction factors to help prevent arson on the premises:

| Risk Reduction Factors |  |
| --- | --- |
| 1. Is the school fitted with an automatic sprinkler system or fire detection system linked to the fire service? | Yes/No |
| 2. Is the school fitted with an intruder alarm with a monitored link to an alarm receiving centre? | Yes/No |
| 3. Are the grounds monitored by CCTV? | Yes/No |
| 4. Is the school fenced to a height of 2 metres? | Yes/No |
| 5. Is the site regularly patrolled? | Yes/No |
| 6. Is there a system in place for dealing with suspicious behaviour? | Yes/No |
| 7. Has any staff training been carried out as a result of risk assessments? | Yes/No |

# Monitoring and Review

The Headteacher will monitor the implementation of the policy and will report to the Local Governing Body.

The Trust Board will review this policy every three years and assess its implementation and effectiveness.